Sea Recovery Water maker Information

Salt or brackish water first enters into the water maker via a through-hull fitting and is filtered through the Sea Strainer.

This feed water is then boosted to 30 psi by the Booster Pump and filtered through 25 and 5 micron Pre-filters. Oil, if present,

is then separated and removed by the Oil/Water Separator. These filters remove sediments and suspended solids from the

feed water prior to entering the High Pressure Pump. A Low Pressure Switch shuts down the water maker in the event of

low flow conditions, preventing cavitation in the High Pressure Pump.

The High Pressure Pump supplies the required force to drive the feed water through the semi-permeable Reverse Osmosis (R.O.)

Membrane. The Back Pressure Regulator automatically controls the necessary pressure level in the Membrane Vessel Assembly.

An automatic high pressure safety shutdown switch protects the water maker if pressure exceeds recommended levels.

The fresh water produced flows out of the Reverse Osmosis Membrane where it is up to 99.2% free of salts, minerals, and other ions. It then passes into the Product Flow Meter where the amount of potable water produced per hour is registered. Next, the

Salinity Probe registers the salt content of the product water. If the water is good quality, it passes through the Charcoal

Filter, which purifies the water of unpleasant odors and taste. Finally, the last filtration process is completed by an optional

Ultraviolet Sterilizer where 99.8% of all micro-organisms, including viruses and bacteria are destroyed.

6. How do I flush or store the watermaker when I am not using it?

Fresh water is required to flush or store the watermaker. The Sea Recovery automatic Fresh Water Flush assembly greatly prolongs the life of the reverse osmosis membrane elements by rinsing them with fresh water at the touch of a button. The fresh water flush automatically repeats itself every seven days. By rinsing the watermaker, salt water is displaced with fresh water within the R.O. system’s internal parts. This process will prevent corrosion of the internal parts and also reduces biological fouling of the membranes. The Fresh Water Flush is included free of charge with the Aqua Matic and Ultra Whisper and is also included in the Deluxe Filtration Upgrade package for other Sea Recovery series.

1. How does the Fresh Water Flush work?

Sea Recovery's Fresh Water Flush (FWF) runs automatically when the watermaker is stopped; it automatically re-flushes every seven (7) days. The FWF uses the ship's on-board water system to supply fresh water through the suppllied Carbon Filter, which removes any chlorine, and then flushes the watermaker completely.

By rinsing the watermaker with fresh water, salt water is displaced with fresh water throughout the R.O. system’s internal parts and including the membrane. This process will prevent corrosion of the internal parts and reduces biological fouling of the membranes. The Fresh Water Flush is included in the Deluxe Filtration Upgrade package and is included free of charge with some models.

2. Do I need an Ultra Violet (UV) Sterilizer?

Yes. An U.V. sterilizer is recommended if the feed water (intake) is from a harbor, marina, or polluted source. The R.O. membrane rejects bacteria and viruses. However, if biological migration occurs across the membrane, then the U.V. sterilizer will destroy 99.9 % of any biological intrusion in the product water.

5. How often do I need to change and clean the reverse osmosis (R.O.) membrane elements?

It is recommended that you clean your reverse osmosis membrane as needed or once every two years (on average). The reverse osmosis (R.O.) membranes last an average of five years and with proper operation and care can last up to 10 years.

It is highly recommended that owners get the Fresh Water Flush with their watermaker. By rinsing the watermaker with fresh water, salt water is displaced with fresh water throughout the R.O. system’s internal parts including the membrane. This process will prevent corrosion of the internal parts and reduces biological fouling of the membranes, therefore prolonging the life of the pre-filters and membranes.